## Slide 1: eFMU Deployment (1/2)
eFMU: efmuPSS
eFMU: CHILTest
Model of Unitrol
stm32
eFMU: efmuPSS
1
2
stm32
Software in the Loop Testing:
  Green eFMU is generated for the PSS controller and the production code is tested within the simulator.
Controller Hardware-in-the-Loop Test
  Green eFMU is deployed in Nucleo board
  Red eFMU – CHILTest – is deployed in another Nucleo board
All in Simulator : Dymola
CHILTest in G474RE
efmuPSS in F303RE
Analog IO

## Slide 2: eFMU Deployment (2/2)
eFMU: Grid4HIL
stm32
Unitrol
stm32
eFMU: efmuPSS
eFMU: efmuPSS
Unitrol
Gen + Grid
3
4
Typhoon-HIL
Hardware-in-the-loop Experiment
  Green eFMU is deployed in Nucleo board
  Magenta eFMU – Grid4HIL – is deployed in another Nucleo board
  An Unitrol is a “real-world” generator excitation control system receives the input from the PSS via analog input, and the Unitrol is interfaced with the Typhoon-HIL real-time simulator using a HIL-Connect box for signal conditioning.
Controller Deployment in the field
  We won’t do this yet; we need a fully physical generator setup to test it…
eFMU: Grid4HIL
stm32
Unitrol
stm32
eFMU: efmuPSS
eFMU: efmuPSS
Unitrol
Gen + Grid
3
4
Typhoon-HIL

## Slide 3: CHIL Test
eFMU: efmuPSS
eFMU: CHILTest
Analog Output
from A to B
CHILTest in G474RE
efmuPSS in F303RE
Analog IO
Analog Output
from B to A

## Slide 4
Plant for Hardware-in-the-Loop Testing with Actual Unitrol 1020 and external PSS
Plant for Controller HIL using Nucleo Board with PSS/Controller model
PSS / Controller FMU
eFMU: Grid4HIL
eFMU: efmuPSS
eFMU: CHILTest
Model of Unitrol
eFMU: efmuPSS

## Slide 5
eFMU: Grid4HIL
eFMU: efmuPSS
eFMU: CHILTest

## Slide 6
eFMU: Grid4HIL
eFMU: efmuPSS
eFMU: CHILTest
https://github.com/ALSETLab/efmi-pss-use-case

## Slide 7
eFMU: Grid4HIL
eFMU: efmuPSS
eFMU: CHILTest